{"text_format":"2","workbook":"xlsx","n_sheets":4,"sheets":["Menú","Códigos","Hoja1","Hoja2"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Menú","index":0,"n_rows":1,"n_cols":1,"rows_kept":1,"cut":false,"hidden":false,"merged":[[0,0,1,17]]}
["BASE DE DATOS CÓDIGOS"]

{"sheet":"Códigos","index":1,"n_rows":1048573,"n_cols":13,"rows_kept":1048573,"cut":false,"hidden":false,"merged":[]}
["EQUIPO","HP","VOLTAJE","RPM","DESCARGA","GIRO","OBSERVACIONES","FECHA","CLIENTE","NUMERO DE PEDIDO","CANTIDAD","CÓDIGO","Comentario"]
["HGTA-800/H","2","230/3/60",1000,null,null,null,"2022-01-19","S&P COLOMBIA",null,7,"5HGTA800HD10CO","2022-01-24T14:25:00"]
["HGTA-1000/H","5","230/3/60",1100,null,null,null,"2022-01-19","S&P COLOMBIA",null,3,"5HGTA1000HF1CO","2022-01-24T14:25:00"]
["CCL-10/10","1/3","220/1/60","700",null,null,null,"2022-02-08","COOPER GROUP",null,1,"5CCL1020307000","2022-02-10T12:40:00"]
["RXT-1250","3","230/3/60","610",null,null,"MALLA EN LA SUCCIÓN","2022-02-08","SOLUCIONES DE REFRIGERACION",null,1,"5NRXT1250327S","2022-02-10T12:40:00"]
["KIT IFFT-50-460V",{"$nulls":5},"INLCUIR CÓDIGO 2-MO-1546, 2-RE-600 Y 2-RE-603","2022-02-08","S&P COLOMBIA",null,80,"5KIT IFFT-54CO","2022-02-10T12:40:00"]
["KIT IFFT-50-230V",{"$nulls":5},"INLCUIR CÓDIGO 2-MO-1523, 2-RE-600 Y 2-RE-603","2022-02-08","S&P COLOMBIA",null,80,"5KIT IFFT-52CO","2022-02-10T12:40:00"]
["KIT IFFT-100-230V",{"$nulls":5},"INLCUIR CÓDIGO 2-MO-2523, 2-RE-602 Y 2-RE-605","2022-02-08","S&P COLOMBIA",null,30,"5KIT IFFT-12CO","2022-02-10T12:40:00"]
["KIT IFFT-100-460V",{"$nulls":5},"INLCUIR CÓDIGO 2-MO-2546, 2-RE-602 Y 2-RE-605","2022-02-08","S&P COLOMBIA",null,20,"5KIT IFFT-14CO","2022-02-10T12:40:00"]
["CDAH-9/9","3/4","127/1/60",1225,null,null,"ENHUACALADO","2022-02-10","S&P COLOMBIA",null,1,"5CDAH9951225CO","2022-02-10T12:40:00"]
["CDAH-9/9","1 1/2","460/3/60",1475,null,null,"ENHUACALADO","2022-02-10","S&P COLOMBIA",null,1,"5CDAH99C1475CO","2022-02-10T12:40:00"]
["CDAH-7/7","1/2","127/1/60",1325,null,null,"ENHUACALADO","2022-02-10","S&P COLOMBIA",null,1,"5CDAH7741325CO","2022-02-10T12:40:00"]
["CDAH-7/7","3/4","127/1/60",1550,null,null,"ENHUACALADO","2022-02-10","S&P COLOMBIA",null,1,"5CDAH7751550CO","2022-02-10T12:40:00"]
["CDAH-9/9","1","460/3/60",1250,null,null,"ENHUACALADO","2022-02-10","S&P COLOMBIA",null,1,"5CDAH99B1250CO","2022-02-10T12:40:00"]
["HGTA-1000/H","3/4","230/3/60",575,null,null,null,"2022-02-21","S&P COLOMBIA",null,1,"5HGTA1000HA4CO","2022-02-21T12:25:00"]
{"$rows_empty":1048557}
[{"$nulls":8},"S&P PERÚ"]

{"sheet":"Hoja1","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Hoja2","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}